## AREA 1
| EQUIPMENT # | EQUIPMENT DESCRIPTION | MANUFACTURER | MODEL # | SERIAL # | SCHEDULE DATE | Range (On Display) | Range (SCADA) | Date | By | Service Date
AREA 1 - CENTRAL AVE ELEVATED TANK - 111 Central Ave., Fort Erie
1 | 000041612 | Level Transmitter - Elevated Tank | Rosemount | 3051 | 416821 | 2025-12-03 | 376.5 - 484.4 Kpa | 0 - 100% | 2024-11-29 | CP | 2024-11-28
AREA 1 - KENT AVE RESERVOIR AND BOOSTER PUMPING STATION - 4281 Kent Ave., Niagara Falls
2 | 000029917 | Flow Transmitter - Effluent | Krohne | 1FC020D | A037790 | 2025-12-05 | 0 - 526.2 L/sec | 0 - 526.2 L/sec | 2024-11-29 | CP | 2024-11-26
3 | 000006433 | Level Transmitter - Reservoir | Rosemount | 2051 Smart | 0032156 | 2025-12-05 | -36 to -205 "wc | 0 - 100% | 2024-11-29 | CP | 2024-11-26
4 | 000037457 | Pressure Transmitter - Discharge 1 | Rosemount | 2088 | 0522896 | 2025-12-05 | 0 - 1000 kpa | 0 - 1000 kpa | 2024-11-29 | CP | 2024-11-26
5 | 000037458 | Pressure Transmitter - Discharge 2 | Rosemount | 2088 | 0522895 | 2025-12-05 | 0 - 1000 kpa | 0 - 1000 kpa | 2024-11-29 | CP | 2024-11-26
AREA 1 - LUNDYS LANE ELEVATED TANK - 6250 Lundys Lane, Niagara Falls
6 | 000045781 | Level Transmitter - Elevated Tank | Rosemount | 2051 | 0032108 | 2025-12-03 | 290.5 - 365.17 Kpa | 0 - 100% | 2024-11-29 | CP | 2024-11-26
AREA 1 - NIAGARA FALLS WATER TREATMENT PLANT - 3599 Macklem St., Niagara Falls
7 | 000008424 | Flow Transmitter - Filter 1 A/B | Rosemount | 3051 | 0149191 | 2025-12-04 | 0 - 54.2 "wc | 0 - 30 ML/d | 2024-11-29 | CP | 2024-11-29
8 | 000036219 | Flow Transmitter - Filter 2 A/B | Rosemount | 2051C | 0008936 | 2025-12-03 | 0 -60.24 "wc | 0 - 30 ML/d | 2024-11-12 | ST | 2024-11-12
9 | 000036225 | Flow Transmitter - Filter 3 A/B | Rosemount | 1151 | 2385103-10/08 | 2025-12-01 | 0 - 54.2 "wc | 0 - 15 ML/d | 2024-11-08 | ST | 2024-11-08
10 | 000036220 | Flow Transmitter - Filter 4 A/B | Rosemount | 2051CD | 0008939 | 2025-12-03 | 0 -60.24 "wc | 0 - 30 ML/d | 2024-11-12 | ST | 2024-11-12
11 | 000031554 | Flow Transmitter - Filter 5 | Rosemount | 2051CD2A22A1AB4K6M5 | 0008099 | 2025-12-01 | 0 - 54.2 "wc | 0 - 15 ML/d | 2024-11-08 | ST | 2024-11-08
12 | 000032569 | Flow Transmitter - Filter 6 | Rosemount | 2051CG2AO2A1AH2B1K6M5D4DF | 0032157 | 2025-12-01 | 0 - 54.2 "wc | 0 - 15 ML/d | 2024-11-08 | ST | 2024-11-08
13 | 000031858 | Flow Transmitter - Filter 7 | Rosemount | 2051; P/N 2051CD2A22A1AB4K6M5 | 0008102 | 2025-12-01 | 0 - 54.2 "wc | 0 - 15 ML/d | 2024-11-08 | ST | 2024-11-08
14 | 000008451 | Flow Transmitter - Filter 8 | Rosemount | 2051C | 0008101 | 2025-12-01 | 0 - 54.2 "wc | 0 - 15 ML/d | 2024-11-08 | ST | 2024-11-08
15 | 000036226 | Flow Transmitter - Filter 9 | Rosemount | 1151 | 2300949 | 2025-12-01 | 0 - 54.2 "wc | 0 - 15 ML/d | 2024-11-08 | ST | 2024-11-08
16 | 000033476 | Flow Transmitter - Filter 10 | Rosemount | 2051CD2A02A1AS5K6M5 | 0008938 | 2025-12-01 | 0 - 54.2 "wc | 0 - 15 ML/d | 2024-11-08 | ST | 2024-11-08
17 | 000032572 | Flow Transmitter - Filter 11 | Rosemount | 2051CG2AO2A1AH2B1K6M5D4DF | 0032160 | 2025-12-01 | 0 - 54.2 "wc | 0 - 15 ML/d | 2024-11-08 | ST | 2024-11-08
18 | 000032570 | Flow Transmitter - Filter 12 | Rosemount | 2051CG2AO2A1AH2B1K6M5D4DF | 0032159 | 2025-12-03 | 0 - 54.2 "wc | 0 - 15 ML/d | 2024-11-08 | ST | 2024-11-08
19 | 000031857 | Flow Transmitter - Filter Waste 1/2/3/4 | Rosemount | 2051CD2A22A1AB4K6M5 | 0008937 | 2025-12-04 | 0 - 70.02 "wc | 0 - 9.25 ML/day | 2024-11-29 | CP | 2024-11-29
20 | 000034208 | Flow Transmitter - Filters 5/7/9/11 to Waste | Rosemount | 2051CD2A02A1AS5K6M5 | 0067914 | 2025-12-01 | 0 - 65 "wc | 0 - 9.25 ML/day | 2024-11-08 | ST | 2024-11-08
21 | 000034207 | Flow Transmitter - Filters 6/8/10/12 to Waste | Rosemount | 2051CD2A02A1AS5K6M5 | 0067915 | 2025-12-04 | 0 - 65 "wc | 0 - 9.25 ML/day | 2024-11-29 | CP | 2024-11-29
22 | 000045653 | Flow Transmitter - #2 Backwash | Endress and Hauser Inc | Promag 53W5H | F4037616000 | 2025-12-04 | 0 - 60.0 ML/day | 0 - 60.0 ML/day | 2024-11-13 | ST | 2024-11-13
23 | 000021166 | Flow Transmitter - uV Unit 1 | Krohne | DWM2000L | 616949/010.004 | 2025-12-03 | 0 - 5.0 m/sec | 0 - 125 ML/day | 2024-11-12 | ST | 2024-11-12
24 | 000021167 | Flow Transmitter - uV Unit 2 | Krohne | DWM2000L | 616949/010.001 | 2025-12-01 | 0 - 5.0 m/sec | 0 - 125 ML/day | 2024-11-08 | ST | 2024-11-08
25 | 000021168 | Flow Transmitter - uV Unit 3 | Krohne | DWM2000L | 612778/020.001 | 2025-12-04 | 0 - 5.0 m/sec | 0 - 125 ML/day | 2024-11-12 | ST | 2024-11-12
26 | 000021169 | Flow Transmitter - uV Unit 4 | Krohne | DWM2000L | 616949/010.003 | 2025-12-01 | 0 - 5.0 m/sec | 0 - 125 ML/day | 2024-11-08 | ST | 2024-11-08
27 | 000021170 | Flow Transmitter - uV Unit 5 | Krohne | DWM2000L | 619737.10.01 | 2025-12-04 | 0 - 5.0 m/sec | 0 - 125 ML/day | 2024-11-12 | ST | 2024-11-12
28 | 000008416 | Level Transmitter - Alum Day Tank | Siemens Milltronics Process Instruments Inc | MultiRanger 100 | 060904187VX | 2025-12-05 | 0 - 5.0 m/sec | 0 - 125 ML/day | 2024-11-08 | ST | 2024-11-08
29 | 000021200 | Level Transmitter - Alum Tank 1 | Siemens Milltronics Process Instruments Inc | MultiRanger 100 | 060904160VX | 2025-12-05 | 0 - 2.3 meters | 0 - 29974 L | 2024-11-08 | ST | 2024-11-08
30 | 000048559 | Level Transmitter - Alum Tank 2 | Siemens Milltronics Process Instruments Inc | Multiranger 100 | S PBD/N4250034 | 2025-12-05 | 0 - 2.3 meters | 0 - 29974 L | 2024-11-08 | ST | 2024-11-08
31 | 000039868 | Level Transmitter - Hypo Day Tank | Rosemount | 3105HA1FRCI6 | 1013143 | 2025-12-05 | 0 - 11.43 ft | 0 - 3088 L | 2024-11-08 | ST | 2024-11-08
32 | 000039867 | Level Transmitter - Hypo Tank 1 | Rosemount | 3105HA1FRCI6 | 1013142 | 2025-12-05 | 0 - 10.66 ft | 0 - 8458 L | 2024-11-08 | ST | 2024-11-08
33 | 000036142 | Level Transmitter - Hypo Tank 2 | Rosemount | 3105HA1FRCI6 | 1003363 | 2025-12-05 | 0 - 10.66 ft | 0 - 8458 L | 2024-11-12 | ST | 2024-11-12
34 | 000036141 | Level Transmitter - Hypo Tank 3 | Rosemount | 3105HA1FRCI6 | 1003362 | 2025-12-05 | 0 - 10.66 ft | 0 - 8458 L | 2024-11-08 | ST | 2024-11-08
35 | 000041634 | Level Transmitter - SBS Tank | Rosemount | 3105HA1FRC16 | 1000038 | 2025-12-05 | 0 - 5.1 ft | 0 - 721 L | 2024-11-12 | ST | 2024-11-12
36 | 000036494 | Level Transmitter - Clearwell 1 | Siemens Milltronics Process Instruments Inc | Multiranger Plus | 01-28-97-238-MU | 2025-12-04 | 0 - 160 Inch | 0 - 100% | 2024-11-12 | ST | 2024-11-12
37 | 000048929 | Level Transmitter - Clearwell 2 | Pulsar Process Measurement | Ultra 4 (UL) | 348042 | 2025-12-04 | 0 - 3 meter | 0 - 100% | 2024-11-29 | CP | 2024-11-29
38 | 000048950 | Level Transmitter - Settled Water Conduit 1 | Pulsar Process Measurement | Ultra 4 (UL) | 348841 | 2025-12-04 | 0 - 2.2 m | 0 - 100% | 2024-11-29 | CP | 2024-11-29
39 | 000048951 | Level Transmitter - Settled Water Conduit 2 | Pulsar Process Measurement | Ultra 4 (UL) | 348842 | 2025-12-04 | 0 - 1.97 meters | 0 - 100% | 2024-11-29 | CP | 2024-11-29
40 | 000035881 | Pressure Transmitter - Filter 1A Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0079171 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
41 | 000036222 | Pressure Transmitter - Filter 1B Head Loss | Rosemount | 2051C | 0088079 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
42 | 000038954 | Pressure Transmitter - Filter 2A Head Loss | Rosemount | 2051CD2A02A1AH2B1K6M5 | 0020150 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
43 | 000008423 | Pressure Transmitter - Filter 2B Head Loss | Signature Control Systems | 2408-30B | 85A-1637 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
44 | 000008426 | Pressure Transmitter - Filter 3A Head Loss | Signature Control Systems | 2408-30B | 85A-1640 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
45 | 000034103 | Pressure Transmitter - Filter 3B Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0064796 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
46 | 000008427 | Pressure Transmitter - Filter 4A Head Loss | Signature Control Systems | 2408-30B | 85A-1638 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
47 | 000008429 | Pressure Transmitter - Filter 4B Head Loss | Signature Control Systems | 2408-30B | 85A-1642 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
48 | 000033052 | Pressure Transmitter - Filter 5 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0045894 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
49 | 000032718 | Pressure Transmitter - Filter 6 Head Loss | Rosemount | 2051CD2A1AH2B1K6M5 | 0020148 | 2025-12-01 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-08 | ST | 2024-11-08
50 | 000033475 | Pressure Transmitter - Filter 7 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0020149 | 2025-12-01 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-08 | ST | 2024-11-08
51 | 000032719 | Pressure Transmitter - Filter 8 Head Loss | Rosemount | 2051CD2A1AH2B1K6M5 | 0041529 | 2025-12-01 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-08 | ST | 2024-11-08
52 | 000036227 | Pressure Transmitter - Filter 9 Head Loss | Rosemount | 3051 | 1185877 | 2025-12-03 | 0 - 3000 mmwc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
53 | 000041611 | Pressure Transmitter - Filter 10 Head Loss | Rosemount | 2051C | 0052507 | 2025-12-01 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-08 | ST | 2024-11-08
54 | 000036218 | Pressure Transmitter - Filter 11 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0045893 | 2025-12-01 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-08 | ST | 2024-11-08
55 | 000033477 | Pressure Transmitter - Filter 12 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0045892 | 2025-12-03 | 0 - 118.1 "wc | 0 - 3.0 meters | 2024-11-12 | ST | 2024-11-12
56 | 000048231 | Pressure Transmitter - Plant 1 Backwash | Rosemount | 3051TG2A2B21J | 21SHPG0205937 | 2025-12-04 | 0 - 500 kpa | 0 - 500 kpa | 2024-11-29 | CP | 2024-11-29
57 | 000048232 | Pressure Transmitter - Plant 2 Backwash | Rosemount | 3051TG2A2B21J | 21SHPG0205938 | 2025-12-04 | 0 - 1000 kpa | 0 - 1000 kpa | 2024-11-29 | CP | 2024-11-29
58 | 000021292 | Pressure Transmitter - Treated Water | Rosemount | C115 | C28531 | 2025-12-04 | 0 - 1000 kpa | 0 - 1000 kpa | 2024-11-29 | CP | 2024-11-29
59 | 000006427 | Temperature Transmitter - Raw Water | Rosemount | 644HAK6XAJ6M5FG | 0133378 | 2025-12-01 | 0 - 100 'C | 0 - 100 'C | 2024-11-08 | ST | 2024-11-08
AREA 1 - ROSEHILL WATER TREATMENT PLANT - 300 Rosehill Rd., Fort Erie
60 | 000009275 | Flow Transmitter - Filter 1 | Bailey Canada | PTSDDC1221121A0 | 88449 | 2025-12-02 | 0 - 106.2 "wc | 0 - 25 ML/day | 2024-12-02 | CP | 2024-11-11
61 | 000009274 | Flow Transmitter - Filter 2 | Bailey Canada | PTSDDC1221121A0 | 86633 | 2025-12-02 | 0 - 106.2 "wwc | 0 - 25 ML/day | 2024-12-02 | CP | 2024-11-11
62 | 000009272 | Flow Transmitter - Filter 3 | Bailey Canada | PTSDDC | 83086 | 2025-12-02 | 0 - 106.2 "wwc | 0 - 25 ML/day | 2024-12-02 | CP | 2024-11-11
63 | 000009273 | Flow Transmitter - Filter 4 | Bailey Canada | PTSDDC1221121A0 | 67171 | 2025-12-02 | 0 - 106.2 "wwc | 0 - 25 ML/day | 2024-12-02 | CP | 2024-11-11
64 | 000031539 | Flow Transmitter - Backwash | Rosemount | 1151DP4S22M4B1C6 | 2392389 | 2025-12-02 | 0 - 81.4 "wc | 0 - 1000 L/sec | 2024-12-02 | CP | 2024-11-11
65 | 000018073 | Flow Transmitter - East Filter to Waste | ABB Inc | Magmaster | P/28055/4/2 | 2025-12-05 | 0 - 200 L/sec | 0 - 200 L/sec |  |  |  | Not in Operation
66 | 000018070 | Flow Transmitter - West Filter to Waste | ABB Inc | Magmaster |  | 2025-12-05 | [5 empty] | Not in Operation
67 | 000049272 | Level Transmitter - Hypo Day Tank | Pulsar Process Measurement | Ultra 3 | 351670 | 2025-12-02 | 0 - 1.87 meters | 0 - 100% | 2024-12-02 | CP | 2024-11-11
68 | 000049270 | Level Transmitter - Hypo Tank 1 | Pulsar Process Measurement | Ultra 3 | 351668 | 2025-12-02 | 0 - 2.5 meters | 0 - 100% | 2024-12-02 | CP | 2024-11-11
69 | 000049271 | Level Transmitter - Hypo Tank 2 | Pulsar Process Measurement | Ultra 3 | 351669 | 2025-12-02 | 0 - 2.70 meters | 0 - 100% | 2024-12-02 | CP | 2024-11-11
70 | 000005879 | Level Transmitter - Alum Tank 1 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 08-13-97-384-0X | 2025-12-02 | 0 - 2.6 meters | 0 - 19240 L | 2024-12-02 | CP | 2024-11-11
71 | 000009480 | Level Transmitter - Alum Tank 2 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 01-28-97-190-MU | 2025-12-02 | 0 - 2.6 meters | 0 - 19240 L | 2024-12-02 | CP | 2024-11-11
72 | 000041042 | Level Transmitter - SBS Tank | Siemens Milltronics Process Instruments Inc | Sitrans Probe LU 6m | PBD/H3100409 | 2025-12-02 | 0 - 100 % | 0 - 300 L | 2024-12-02 | CP | 2024-11-11
73 | 000037164 | Pressure Transmitter - Filter 1 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0106200 | 2025-12-02 | 0 - 5000 mmwc | 0 - 5.0 meters | 2024-12-02 | CP | 2024-11-11
74 | 000037163 | Pressure Transmitter - Filter 2 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0106199 | 2025-12-02 | 0 - 5000 mmwc | 0 - 5.0 meters | 2024-12-02 | CP | 2024-11-11
75 | 000037159 | Pressure Transmitter - Filter 3 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0102419 | 2025-12-02 | 0 - 5000 mmwc | 0 - 5.0 meters | 2024-12-02 | CP | 2024-11-11
76 | 000037161 | Pressure Transmitter - Filter 4 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0102421 | 2025-12-02 | 0 - 5000 mmwc | 0 - 5.0 meters | 2024-12-02 | CP | 2024-11-11
77 | 000005868 | Pressure Transmitter - Plant Discharge | Rosemount | 2051CD2A02A1AS5K6M5 | 19545956 | 2025-12-02 | 0 - 1000 kpa | 0 - 1000 kpa | 2024-12-02 | CP | 2024-11-11
78 | 000005981 | Pressure Transmitter - Treated Water East? | Rosemount | 1151GP7S22B1M7C6DF | 2227810 | 2025-12-02 | 0 - 1000 kpa | 0 - 1000 kpa | 2024-12-02 | CP | 2024-11-11
AREA 1 - STEVENSVILLE RESERVOIR AND PUMPING STATION - 2650 Stevenville Rd., Fort Erie
79 | 000029919 | Flow Transmitter - Reservoir | Chotech Hydraulique Ltee | 50XE43A | 43442/02/01 | 2025-12-05 | 0 - 600 m3/hr | 0 - 14400 M3/day | 2024-11-29 | CP | 2024-11-28
80 | 000006283 | Level Transmitter - Reservoir | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 05-21-97-137-0X | 2025-12-05 | 0 - 202.8 inches | 0 - 100% | 2024-11-29 | CP | 2024-11-11
81 | 000006290 | Level Transmitter - Clearwell | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 05-21-97-174-0X | 2025-12-05 | 0 - 202.8 inches | 0 - 100% | 2024-11-29 | CP | 2024-11-11
82 | 000038604 | Pressure Transmitter - System | Rosemount | 2088 | 0543325 | 2025-12-05 | 0 - 700 kpa | 0 - 700 Kpa | 2024-11-29 | CP | 2024-11-28

## AREA 2
| EQUIPMENT # | EQUIPMENT DESCRIPTION | MANUFACTURER | MODEL # | SERIAL # | SCHEDULE DATE | Range (On Display) | Range (SCADA) | Service Date | Service Tech | Reports By | Report Date | Comment
AREA 2 - BARRICK ROAD ELEVATED TANK - 185 Barrick Rd., Port Colborne
1 | 000044802 | Flow Transmitter - Tower Outlet (REV) | Endress and Hauser Inc | 53W3H-DLGB5RK4BAA2 | M9047F16000 | 2025-11-11 | 0 - 416.7 L/sec | 0 - 416.7 L/sec | 2025-11-11 | JA+VP | KP | 2025-11-12
2 | 000044752 | Flow Transmitter - Tower Inlet (FWD) | Endress and Hauser Inc | 53W4F-DLGB5RK4BAA2 | L 7010216000 | 2025-11-11 | 0 - 416.7 L/sec | 0 - 416.7 L/sec | 2025-11-11 | JA+VP | KP | 2025-11-12
3 | 000044774 | Pressure Transmitter - Effluent | Rosemount | 2088G2S22A1C6Q4DW | 0666 837 | 2025-11-11 | 271 - 410 kpa | 271 - 410 kpa | 2025-11-11 | JA+VP | KP | 2025-11-12
4 | 000044775 | Pressure Transmitter - Effluent | Rosemount | 2088G2S22A1C6Q4DW | 0666 897 | 2025-11-11 | 271 - 410 kpa | 271 - 410 kpa | 2025-11-11 | JA+VP | KP | 2025-11-12
5 | 000042858 | Pressure Transmitter - Distribution | Rosemount | 2088 | 17CHPJ0003766 | 2025-11-11 | 0 - 1034 kpa | 0 - 1034 kpa | 2025-11-11 | JA+VP | KP | 2025-11-12
6 | 000044773 | Level Transmitter - Hypo Tank | Rosemount | 3102HA1FRCG6Q4ST | 03100 1050 2002 | 2025-11-11 | 0 - 70.8 cm | 0 - 952.9 L | 2025-11-11 | JA+VP | KP | 2025-11-12
AREA 2 - BEMIS ELEVATED TANK - 97 Coventry Rd., Welland
7 | 000036217 | Level Transmitter - Tank | Rosemount | 2088 | 0487612 | 2025-11-11 | 280.50 - 379.70 Kpa | 0 - 100% | 2025-11-11 | JA+VP | KP | 2025-11-12
AREA 2 - FIELDEN AVE RESERVOIR & WATER BOOSTER PUMPING STATION - 805 Fielden Ave., Port Colborne
8 | 000021550 | Pressure Transmitter - System | Rosemount | 3051T62A2B21AB4C6M5DW | 1817497 | 2025-11-10 | 0-1000 kpa | 0-1000 kpa | 2025-11-10 | CP+JA | KP | 2025-11-12
9 | 000046068 | Flow Transmitter - Station | Endress and Hauser Inc | Promag 400 | M71A3419000 | 2025-11-10 | 0 - 100 L/sec | 0 - 100 L/sec | 2025-11-10 | CP+JA
10 | 000021526 | Level Transmitter - Reservoir South | Siemens Milltronics Process Instruments Inc | MultiRanger 100 | PBD/V2270115 | 2025-11-10 | 0-3.0 meters | 0 - 100% | 2025-11-10 | CP+JA | KP | 2025-11-12
11 | 000047833 | Level Transmitter - Reservoir North | Siemens Milltronics Process Instruments Inc | MultiRanger 200 | S PBD/M0220035 | 2025-11-10 | 0-3.0 meters | 0 - 100% | 2025-11-10 | CP+JA | KP | 2025-11-12
AREA 2 - PELHAM ELEVATED TANK - 181 Hwy 20 West, Pelham
12 | 000009499 | Level Transmitter - Elevated Tank | ABB Inc | 611EDF2F3A0G81P1 | 303596 | 2025-11-14 | 28.8 - 43 psi | 0 - 100% | 2025-11-11 | JA+VP | KP | 2025-11-12
AREA 2 - PORT COLBORNE WATER TREATMENT PLANT - 323 King St., Port Colborne
13 | 000037620 | Level Transmitter - Filter 1 | Rosemount | 3105 Ultrasonic | 1239080 | 2025-11-10 | 0 - 58.0 inches | 0 - 100% | 2025-11-10 | CP+JA | KP | 2025-11-12
14 | 000036445 | Level Transmitter - Filter 2 | Rosemount | 3105HA1FRCI6 | JBG1003935 | 2025-11-10 | 0 - 58.0 inches | 0 - 100% | 2025-11-10 | CP+JA | KP | 2025-11-12
15 | 000036443 | Level Transmitter - Filter 3 | Rosemount | 3105HA1FRCI6 | 1242128 | 2025-11-10 | 0 - 58.0 inches | 0 - 100% | 2025-11-10 | CP+JA | KP | 2025-11-12
16 | 000007662 | Level Transmitter - Filter | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 072600149TJ | 2025-11-10 | 0 - 0.15 meters | 0 - 100% | 2025-11-10 | CP+JA | KP | 2025-11-12
17 | 000007656 | Level Transmitter - Sludge Tank | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 071900156TJ | 2025-11-10 | 0 - 4.50 meters | 0 - 100% | 2025-11-10 | CP+JA | KP | 2025-11-12
18 | 000007657 | Level Transmitter - Alum Day Tank | Flowline | Echosonic II | 130325-007692 | 2025-11-10 | 0 - 142.5 cm | 0 - 100% | 2025-11-10 | CP+JA | KP | 2025-11-12
19 | 000007658 | Level Transmitter - Main Alum Tank | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 04-05-99-175-RZ | 2025-11-10 | 0 - 3.0 meters | 0 - 22,200 L | 2025-11-10 | CP+JA | KP | 2025-11-12
20 | 000007659 | Level Transmitter - Hypo Tank 1 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 010801157TJ | 2025-11-10 | 0 - 274 cm | 0 - 3000 L | 2025-11-10 | CP+JA | KP | 2025-11-12
21 | 000007660 | Level Transmitter - Hypo Tank 2 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 06-23-94-191-GE | 2025-11-10 | 0 - 274 cm | 0 - 3,000 L | 2025-11-10 | CP+JA | KP | 2025-11-12
22 | 000007661 | Level Transmitter - Hypo Day Tank | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 12-09-94-129-GE | 2025-11-10 | 0 - 2.06 meters | 0 - 950 L | 2025-11-10 | CP+JA | KP | 2025-11-12
23 | 000007653 | Level Transmitter - Clearwell Over-Ride | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 072600155TJ | 2025-11-10 | 0 - 1.5 meters | 0 - 1500 L | 2025-11-10 | CP+JA | KP | 2025-11-12
24 | 000007654 | Level Transmitter - Travelling Screen | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 071900134TJ | 2025-11-10 | 0 - 100 cm | 0 - 100% | 2025-11-10 | CP+JA | KP | 2025-11-12
25 | 000007693 | Pressure Transmitter - Treated Water | Bailey Canada | PTSDGG1100121AA | 96W021876 | 2025-11-10 | 0 - 700 kpa | 0 - 700 kpa | 2025-11-10 | CP+JA
26 | 000035882 | Pressure Transmitter - Filter 3 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0079170 | 2025-11-10 | 0 - 118.11 "wc | 0 - 3.0 m | 2025-11-10 | CP+JA | KP | 2025-11-12
27 | 000039172 | Pressure Transmitter - Filter 1 Head Loss | Rosemount | 2051 | 0151283 | 2025-11-10 | 0 - 118.11 "wc | 0 - 3.0 m | 2025-11-10 | CP+JA | KP | 2025-11-12
28 | 000037162 | Pressure Transmitter - Filter 2 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0106198 | 2025-11-10 | 0 - 118.11 "wc | 0 - 3.0 m | 2025-11-10 | CP+JA | KP | 2025-11-12
29 | 000036258 | Flow Transmitter - Filter 3 | Rosemount | 2051CD1A02A1AS5K6M5 | 0034518 | 2025-11-10 | 0 - 23.26 "wc | 0 - 16 ML/day | 2025-11-10 | CP+JA | KP | 2025-11-12
30 | 000036277 | Flow Transmitter - Filter 2 | Rosemount | 2051CD1A02A1AS5K6M5 | 0034517 | 2025-11-10 | 0 - 23.26 "wc | 0 - 16 ML/day | 2025-11-10 | CP+JA | KP | 2025-11-12
31 | 000037621 | Flow Transmitter - Filter 1 | Rosemount | 2051 | 0034519 | 2025-11-10 | 0 - 23.26 "wc | 0 - 16 ML/day | 2025-11-10 | CP+JA | KP | 2025-11-12
32 | 000040579 | Flow Transmitter - Backwash | Rosemount | 3051S2CD2A2A12A1AD1K6M5 | 0824563 | 2025-11-10 | 0 - 102.74 "wc | 0 - 68 ML/day | 2025-11-10 | CP+JA | KP | 2025-11-12
AREA 2 - SHOALTS DRIVE RESERVOIR & PUMPING STATION - 5 Shoalts Dr., Pelham
33 | 000036071 | Level Transmitter - Cell 1 | Rosemount | 2088G2S22A1M5B4C6Q4DW | 0392087 | 2025-11-11 | 0 - 187.56 "wc | 0 - 100% | 2025-11-11 | JA+VP | KP | 2025-11-12
34 | 000046220 | Level Transmitter - Cell 2 | Rosemount | 2051 | 0040841 | 2025-11-11 | 0 - 187.56 "wc | 0 - 100% | 2025-11-11 | JA+VP | KP | 2025-11-12
35 | 000036184 | Pressure Transmitter - High Zone | Rosemount | 2088 | 0489067 | 2025-11-11 | 0 - 700 kpa | 0 - 700 kpa | 2025-11-11 | JA+VP | KP | 2025-11-12
36 | 000036213 | Pressure Transmitter - Low Zone | Rosemount | 2088 | 0487613 | 2025-11-11 | 0 - 700 kpa | 0 - 700 kpa | 2025-11-11 | JA+VP | KP | 2025-11-12
AREA 2 - WELLAND WATER TREATMENT PLANT - 4 Cross St., Welland
37 | 000035971 | Flow Transmitter - Backwash | Rosemount | 2051CD2A02A1AH2B1K6DF | 0081083 | 2025-11-13 | 0 - 37.5 "wc | 0 - 650 L/sec | 2025-11-14 | JA+CP | KP | 2025-11-13 | Singal Not working on SCADA
38 | 000007789 | Flow Transmitter - Filter 1 | Rosemount | C115 1DP4J22M1B1C6 | C00128486 | 2025-11-12 | 0 - 51.18 " wc | 0 - 300 L/sec | 2025-11-12 | JA+VP | KP | 2025-11-13
39 | 000045595 | Flow Transmitter - Filter 2 | Rosemount | 3051S | 0488035 | 2025-11-12 | 0 - 51.18 " wc | 0 - 300 L/sec | 2025-11-12 | JA+VP | KP | 2025-11-13
40 | 000007791 | Flow Transmitter - Filter 3 | Rosemount | C115 1DP4J22M1B1C6 | C00128485 | 2025-11-12 | 0 - 51.18 " wc | 0 - 300 L/sec | 2025-11-12 | JA+VP | KP | 2025-11-13
41 | 000029916 | Flow Transmitter - Filter 4 | Rosemount | 3051 | 0232446 | 2025-11-13 | 0 - 51.18 " wc | 0 - 300 L/sec | 2025-11-12 | JA+VP | KP | 2025-11-13
42 | 000052858 | Flow Transmitter - Filter 5 | Rosemount | 2051 | 24SHPC0262936 | 2025-11-13 | 0 - 51.18 " wc | 0 - 300 L/sec | 2025-11-12 | JA+VP | KP | 2025-11-13
43 | 000052497 | Flow Transmitter - Filter 6 | Rosemount | 2051 | 24SHPC0249097 | 2025-11-13 | 0 - 51.18 " wc | 0 - 300 L/sec | 2025-11-12 | JA+VP | KP | 2025-11-13
44 | 000042131 | Flow Transmitter - UV Reactor 1 | Rosemount | 8712 | 662139 | 2025-11-13 | 0 - 100 ML/day | 0 - 100 ML/day | 2025-11-14 | JA+CP | KP | 2025-11-17
45 | 000042132 | Flow Transmitter - UV Reactor 3 | Rosemount | 8712 | 661590 | 2025-11-13 | 0 - 100 ML/day | 0 - 100 ML/day | 2025-11-14 | JA+CP | KP | 2025-11-17
46 | 000044897 | Flow Transmitter - Welland Corp | Rosemount | 8712 | 661423 | 2025-11-12 | 0 - 5 ML/D | 0 - 5 ML/D | 2025-11-14 | JA+CP | KP | 2025-11-17
47 | 000010832 | Level Transmitter - Alum Day Tank | Siemens Milltronics Process Instruments Inc | Multiranger Plus |  | 2025-11-14 | 0 - 1.0 meter | 0 - 690 L | 2025-11-12 | JA+CP | KP | 2025-11-17
48 | 000007774 | Level Transmitter - Alum Tank | Siemens Milltronics Process Instruments Inc | Miltronics Plus | 11-20-97-390-OX | 2025-11-14 | 0 - 2.44 meters | 0 - 100% |  |  |  |  | Not In service
49 | 000010834 | Level Transmitter - Alum Tank 1 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus |  | 2025-11-14 | 0 - 2.4 meters | 0 - 10,000 L | 2025-11-12 | JA+VP | KP | 2025-11-13
50 | 000010836 | Level Transmitter - Alum Tank 2 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 409MV | 2025-11-14 | 0 - 2.4 meters | 0 - 10,000 L | 2025-11-12 | JA+VP | KP | 2025-11-13
51 | 000011157 | Level Transmitter - Clearwell | Siemens Milltronics Process Instruments Inc | Multiranger Plus | 10-31-98-330-RZ | 2025-11-13 | 0 - 3.0 meters | 0 - 100% | 2025-11-12 | JA+VP | KP | 2025-11-13
52 | 000011159 | Level Transmitter - Clearwell Over-Ride | Siemens Milltronics Process Instruments Inc | Multiranger Plus | 3900MV | 2025-11-13 | 0 - 1.5 meters | 0 - 1500 mm | 2025-11-12 | JA+VP | KP | 2025-11-13
53 | 000042138 | Level Transmitter - High Lift North Well | Rosemount | 3107HP2PN1I6Q4 | 1013952 | 2025-11-12 | 0 - 5.0 meters | 0 - 100% | 2025-11-14 | JA+CP | KP | 2025-11-17
54 | 000042139 | Level Transmitter - High Lift South Well | Rosemount | 3107HP2PN1I6Q4 | 1013953 | 2025-11-12 | 0 - 5.0 meters | 0 - 100% | 2025-11-14 | JA+CP | KP | 2025-11-17
55 | 000007780 | Level Transmitter - Hypo Day Tank | Siemens Milltronics Process Instruments Inc | MultiRanger 200 | PBD/E0140111 | 2025-11-12 | 0 - 1.5 meters | 0 - 1746 L | 2025-11-12 | JA+VP
56 | 000045698 | Level Transmitter - Hypo Tank 1 | Pulsar Process Measurement | Ultra 3 (UL) | 329225 | 2025-11-12 | 0 - 2.78 m | 0 – 13000 L | 2025-11-14 | JA+CP | KP | 2025-11-17
57 | 000007782 | Level Transmitter - Hypo Tank 2 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 11-20-97-406-OX | 2025-11-12 | 0 - 2.78 m | 0 – 13000 L | 2025-11-12 | JA+VP | KP | 2025-11-13
58 | 000042137 | Level Transmitter - Reservoir 3 | Rosemount | 3107HP2PN1I6Q4 | 1013951 | 2025-11-12 | 0 - 5.0 meters | 0 - 100% | 2025-11-14 | JA+CP | KP | 2025-11-17
59 | 000007798 | Level Transmitter - Waste Tank | Siemens Milltronics Process Instruments Inc | Multiranger Plus | 040892 | 2025-11-12 | 0 - 6.5 meters | 0 - 100% | 2025-11-12 | JA+VP | KP | 2025-11-13
60 | 000042141 | Level Transmitter - East Backwash Well | Rosemount | 3107HP2PN1I6Q4 | 1020886 | 2025-11-13 | 0 - 6.0 meters | 0 - 100% | 2025-11-14 | JA+CP | KP | 2025-11-17
61 | 000042140 | Level Transmitter - West Backwash Well | Rosemount | 3107HP2PN1I6Q4 | 1020885 | 2025-11-13 | 0 - 6.0 meters | 0 - 100% | 2025-11-14 | JA+CP | KP | 2025-11-17
62 | 000007783 | Pressure Transmitter - Filter 1 Head Loss | Rosemount | 2051 | 24SHDC0258712 | 2025-11-12 | 0 - 118.11 "wc | 0 - 3.0 meters | 2025-11-12 | JA+VP | KP | 2025-11-13
63 | 000007784 | Pressure Transmitter - Filter 2 Head Loss | Rosemount | 2051 | 24SHPC0258711 | 2025-11-12 | 0 - 118.11 "wc | 0 - 3.0 meters | 2025-11-12 | JA+VP | KP | 2025-11-13
64 | 000039171 | Pressure Transmitter - Filter 3 Head Loss | Rosemount | 2051 | 0151282 | 2025-11-12 | 0 - 118.11 "wc | 0 - 3.0 meters | 2025-11-12 | JA+VP | KP | 2025-11-13
65 | 000007786 | Pressure Transmitter - Filter 4 Head Loss | Rosemount | 2051 | 24SHPC0249096 | 2025-11-13 | 0 - 118.11 "wc | 0 - 3.0 meters | 2025-11-12 | JA+VP | KP | 2025-11-13
66 | 000034105 | Pressure Transmitter - Filter 5 Head Loss | Rosemount | 2051 | 0064798 | 2025-11-13 | 0 - 118.11 "wc | 0 - 3.0 meters | 2025-11-12 | JA+VP | KP | 2025-11-13
67 | 000035223 | Pressure Transmitter - Filter 6 Head Loss | Rosemount | 2051 | 88078 | 2025-11-13 | 0 - 118.11 "wc | 0 - 3.0 meters | 2025-11-12 | JA+VP | KP | 2025-11-13
fvg | 000'421445 | Pressure Transmitter - Plant Discharge | Rosemount | 3051 | 2686608 | 2025-11-13 | 0 - 1050 kpa | 0 - 1000 kpa | 2025-11-12 | JA+VP | KP | 2025-11-13

## AREA 3
| EQUIPMENT # | EQUIPMENT DESCRIPTION | MANUFACTURER | MODEL # | SERIAL # | SCHEDULE DATE | Range (On Display) | Range (SCADA) | Service Date | Service Tech | Reports By | Report Date | Comment
AREA 3 - BROCK HIGHLIFT PUMPING STATION - 11 Lockhart Dr., St. Catharines
1 | 000006823 | Pressure Level Transmitter | Rosemount | 1151 SMART | 549412 | 2025-11-18 | 0 - 1000 kpa | 0 - 1000 kpa | 2025-11-19 | JA+VP | KP | 2025-11-24
AREA 3 - DECEW FALLS WATER TREATMENT PLANT - 2700 Decew Rd., St. Catharines
2 | 000006830 | Flow Transmitter - Filter 1 | Krohne | IFC 100 | 106988462 | 2025-11-19 | 0 - 250 L/sec | 0 - 250 L/sec
3 | 000006833 | Flow Transmitter - Filter 2 | Krohne | Aqua Flux 070 K/D | A95 4947 | 2025-11-19 | 0 - 250 L/sec | 0 - 250 L/sec
4 | 000006836 | Flow Transmitter - Filter 3 | Krohne | IFC 100 | 106987870 | 2025-11-19 | 0 - 250 L/sec | 0 - 250 L/sec
5 | 000006839 | Flow Transmitter - Filter 4 | Krohne | Aqua Flux 070 K/D | A95 4948 | 2025-11-19 | 0 - 250 L/sec | 0 - 250 L/sec
6 | 000006841 | Flow Transmitter - Filter 5 | Krohne | Aqua Flux 070 K/D | A95 4953 | 2025-11-20 | 0 - 250 L/sec | 0 - 250 L/sec
7 | 000006845 | Flow Transmitter - Filter 6 | Krohne | Aqua Flux 070 K/D | A95 4940 | 2025-11-20 | 0 - 250 L/sec | 0 - 250 L/sec
8 | 000006847 | Flow Transmitter - Filter 7 | Krohne | Aqua Flux 070 K/D | A95 4954 | 2025-11-20 | 0 - 250 L/sec | 0 - 250 L/sec
9 | 000006852 | Flow Transmitter - Filter 8 | Krohne | Aqua Flux 070 K/D | A95 6736 | 2025-11-20 | 0 - 250 L/sec | 0 - 250 L/sec
10 | 000006856 | Flow Transmitter - Filter 9 | Krohne | Aqua Flux 070 K/D | A95 4951 | 2025-11-21 | 0 - 250 L/sec | 0 - 250 L/sec
11 | 000006860 | Flow Transmitter - Filter 10 | Krohne | Aqua Flux 070 K/D | A95 6735 | 2025-11-21 | 0 - 250 L/sec | 0 - 250 L/sec
12 | 000038934 | Flow Transmitter - Filter 11 | Rosemount | 8712 | 0870128650 | 2025-11-21 | 0 - 250 L/sec | 0 - 250 L/sec
13 | 000006867 | Flow Transmitter - Filter 12 | Krohne | Aqua Flux 070 K/D | A95 4950 | 2025-11-21 | 0 - 250 L/sec | 0 - 250 L/sec
14 | 000038869 | Flow Transmitter - 38ML Reservoir Bypass | McCrometer | 880003032 | E13-01443 | 2025-11-24 | passcode is 0002
15 | 000039173 | Flow Transmitter - Plant 1 Backwash | Rosemount | 2051 | 0151284 | 2025-11-21 | 0 - 58 "WC | 0 - 630 L/sec
16 | 000035809 | Flow Transmitter - Plant 3 Backwash | Rosemount | 2051CD2A02A1AS5K6M5 | 0052510 | 2025-11-24 | 0 - 73.08 "WC | 0 - 1600 L/sec
17 | 000040694 | Level Transmitter - Alum Day Tank 1 | Rosemount | 3105 | 1048064 | 2025-11-24 | 0 - 6.4 ft | 0 - 100%
18 | 000042778 | Level Transmitter - Alum Day Tank 2 | Rosemount | 3105HA1FRCI6 | 1029914 | 2025-11-24 | 0 - 6.4 ft | 0 - 100%
19 | 000045783 | Level Transmitter - Alum Storage Tank 1 and Tank 2 | Rosemount | 3105HA1FRCI6 | 0002086 | 2025-11-24 | 0 - 111.18 " | 0 - 2.84 m
20 | 000006896 | Level Transmitter - Clearwell 2 | Siemens Milltronics Process Instruments Inc | MULTI RANGER PLUS | 08-16-95-167-GE | 2025-11-24 | 0 - 2.24 meters | 0 - 100%
21 | 000036230 | Level Transmitter - Filter 1 Cell 1 | Rosemount | 3105 Ultrasonic | 1042182 | 2025-11-19 | 0 - 6.56 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
22 | 000040925 | Level Transmitter - Filter 1 Cell 2 | Rosemount | 3105 Ultrasonic | 1324170 | 2025-11-19 | 0 - 6.56 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
23 | 000036231 | Level Transmitter - Filter 2 Cell 1 | Rosemount | 3105 Ultrasonic | 1042184 | 2025-11-19 | 0 - 6.56 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
24 | 000040922 | Level Transmitter - Filter 2 Cell 2 | Rosemount | 3105 Ultrasonic | 1324176 | 2025-11-19 | 0 - 6.56 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
25 | 000036232 | Level Transmitter - Filter 3 Cell 1 | Rosemount | 3105 Ultrasonic | 1043112 | 2025-11-19 | 0 - 6.56 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
26 | 000040926 | Level Transmitter - Filter 3 Cell 2 | Rosemount | 3105 Ultrasonic | 1324180 | 2025-11-19 | 0 - 6.56 ft | 0 - 100%
27 | 000036233 | Level Transmitter - Filter 4 Cell 1 | Rosemount | 3105 Ultrasonic | 1022012 | 2025-11-19 | 0 - 6.56 ft | 0 - 100% | 2025-11-21 | JA+VP | KP | 2025-11-24
28 | 000040923 | Level Transmitter - Filter 4 Cell 2 | Rosemount | 3105 Ultrasonic | 1324168 | 2025-11-19 | 0 - 6.56 ft | 0 - 100% | 2025-11-21 | JA+VP | KP | 2025-11-24
29 | 000036234 | Level Transmitter - Filter 5 Cell 1 | Rosemount | 3105 Ultrasonic | 1046008 | 2025-11-20 | 0 - 6.56 ft | 0 - 100% | 2025-11-21 | JA+VP | KP | 2025-11-24
30 | 000040927 | Level Transmitter - Filter 5 Cell 2 | Rosemount | 3105 Ultrasonic | 1324178 | 2025-11-20 | 0 - 6.50 ft | 0 - 100% | 2025-11-21 | JA+VP | KP | 2025-11-24
31 | 000036235 | Level Transmitter - Filter 6 Cell 1 | Rosemount | 3105 Ultrasonic | 1042200 | 2025-11-20 | 0 - 6.56 ft | 0 - 100% | 2025-11-21 | JA+VP | KP | 2025-11-24
32 | 000040924 | Level Transmitter - Filter 6 Cell 2 | Rosemount | 3105 Ultrasonic | 1324186 | 2025-11-20 | 0 - 6.56 ft | 0 - 100% | 2025-11-21 | JA+VP | KP | 2025-11-24
33 | 000036236 | Level Transmitter - Filter 7 | Rosemount | 3105 Ultrasonic | 1047024 | 2025-11-20 | 1.5 - 5.30 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
34 | 000036237 | Level Transmitter - Filter 8 | Rosemount | 3105 Ultrasonic | 1042178 | 2025-11-20 | 1.5 - 5.30 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
35 | 000036238 | Level Transmitter - Filter 9 | Rosemount | 3105 Ultrasonic | 1049212 | 2025-11-21 | 1.5 - 5.30 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
36 | 000036239 | Level Transmitter - Filter 10 | Rosemount | 3105 Ultrasonic | 1050074 | 2025-11-21 | 1.5 - 5.30 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
37 | 000036240 | Level Transmitter - Filter 11 | Rosemount | 3105 Ultrasonic | 1047038 | 2025-11-21 | 1.5 - 5.30 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
38 | 000040692 | Level Transmitter - Filter 12 | Rosemount | 3105 Ultrasonic | 1041110 | 2025-11-21 | 1.5 - 5.30 ft | 0 - 100% | 2025-11-20 | JA+VP | KP | 2025-11-24
39 | 000036242 | Level Transmitter - Filter 13 | Rosemount | 3105 Ultrasonic | 940056 | 2025-11-24 | 1.5 - 5.30 ft | 0 - 100%
40 | 000036243 | Level Transmitter - Filter 14 | Rosemount | 3105 Ultrasonic | 940052 | 2025-11-24 | 1.5 - 5.30 ft | 0 - 100%
41 | 000036244 | Level Transmitter - Filter 15 | Rosemount | 3105 Ultrasonic | 908136 | 2025-11-24 | 1.5 - 5.30 ft | 0 - 100%
42 | 000045954 | Level Transmitter - Hypo Tank 1 | Rosemount | 3105HA1FRCI6 | 19CHBG0002654 | 2025-11-21 | 0 - 166 " | 0 - 4.21 m
43 | 000036478 | Level Transmitter - Hypo Tank 2 | Siemens Milltronics Process Instruments Inc | Probe | P178968 | 2025-11-21 | 0 - 4.20 m | 0 - 20,000 L
44 | 000008864 | Level Transmitter - Plant 3 Clearwell | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 12889657-33 | 2025-11-24 | 0 - 3.18 meters | 0 - 100%
45 | 000008860 | Level Transmitter - Settled Water 3 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus |  | 2025-11-24 | 0 - 2.756 meters | 0 - 2.756 meters
46 | 000006829 | Pressure Transmitter - Filter 1 Head Loss | Rosemount | 1151 DP | 1829488 | 2025-11-19 | 0-2500 mmwc | 0-2.5 meters | 2025-11-20 | JA+VP | KP | 2025-11-24
47 | 00052857 | Pressure Transmitter - Filter 2 Head Loss | Rosemount | 2051 DP | 6362441 | 2025-11-19 | 0-2500 mmwc | 0-2.5 meters | 2025-11-21 | JA+VP | KP | 2025-11-24 | New - Replaced
48 | 000040689 | Pressure Transmitter - Filter 3 Head Loss | Rosemount | 1151 DP | 1829490 | 2025-11-19 | 0-2500 mmwc | 0-2.5 meters | 2025-11-21 | JA+VP | KP | 2025-11-24
49 | 000006842 | Pressure Transmitter - Filter 4 Head Loss | Rosemount | 1151 DP | 1829491 | 2025-11-20 | 0-2500 mmwc | 0-2.5 meters | 2025-11-21 | JA+VP | KP | 2025-11-24
50 | 000045780 | Pressure Transmitter - Filter 5 Head Loss | Rosemount | 2051 | 0031600 | 2025-11-20 | 0-2500 mmwc | 0-2.5 meters | 2025-11-21 | JA+VP | KP | 2025-11-24
51 | 000046219 | Pressure Transmitter - Filter 6 Head Loss | Rosemount | 2051 | 0056085 | 2025-11-20 | 0-2500 mmwc | 0-2.5 meters | 2025-11-21 | JA+VP | KP | 2025-11-24
52 | 000006846 | Pressure Transmitter - Filter 7 Head Loss | Rosemount | ROSEMOUNT 1151 SMART | 1831774 | 2025-11-20 | 0-2500 mmwc | 0-2.5 meters | 2025-11-19 | JA+VP
53 | 000040690 | Pressure Transmitter - Filter 8 Head Loss | Rosemount | 1151 DP | 1829492 | 2025-11-20 | 0-2500 mmwc | 0-2.5 meters | 2025-11-19 | JA+VP
54 | 000037160 | Pressure Transmitter - Filter 9 Head Loss | Rosemount | 2051CD2A02A1AS5K6M5 | 0102420 | 2025-11-21 | 0-2500 mmwc | 0-2.5 meters | 2025-11-19 | JA+VP
55 | 000040691 | Pressure Transmitter - Filter 10 Head Loss | Rosemount | 1151 DP | 1831773 | 2025-11-21 | 0-2500 mmwc | 0-2.5 meters | 2025-11-19 | JA+VP
56 | 000006861 | Pressure Transmitter - Filter 11 Head Loss | Rosemount | ROSEMOUNT 1151 DP | 1831769 | 2025-11-21 | 0-2500 mmwc | 0-2.5 meters | 2025-11-20 | JA+VP | KP | 2025-11-24
57 | 000036471 | Pressure Transmitter - Filter 12 Head Loss | Rosemount | 2051 | 0079172 | 2025-11-21 | 0-2500 mmwc | 0-2.5 meters | 2025-11-20 | JA+VP | KP | 2025-11-24
58 | 000006869 | Pressure Transmitter - Filter 13 Head Loss | Rosemount | C1151DP4S12B1C6 SMART | C00189292 | 2025-11-24 | 0-2500 mmwc | 0-2.5 meters
59 | 000006871 | Pressure Transmitter - Filter 14 Head Loss | Rosemount | C1151DP4S12B1C6 SMART | C00192027 | 2025-11-24 | 0-2500 mmwc | 0-2.5 meters
60 | 000006873 | Pressure Transmitter - Filter 15 Head Loss | Rosemount | C1151DP4S12B1C6 SMART | C00192026 | 2025-11-24 | 0-2500 mmwc | 0-2.5 meters
61 | 000040693 | Pressure Transmitter - Treated Water 4 Discharge | Rosemount | 3051 | 1465216 | 2025-11-21 | 0 - 700 kpa | 0 - 700 kpa
AREA 3 - FIFTH AVE RESERVOIR & RE-CHLORINATION STATION - 3390 Fifth Ave., Lincoln
62 | 000022508 | Level Transmitter - Cell 1 | Siemens Milltronics Process Instruments Inc | Multiranger 200 | PBD/U4030306 | 2025-11-14 | 0-4.32 meters | 0 - 100% | 2025-11-18 | JA+VP
63 | 000022509 | Level Transmitter - Cell 2 | Siemens Milltronics Process Instruments Inc | Multiranger 200 | PBD/U4030308 | 2025-11-14 | 0-4.34 meters | 0 - 100% | 2025-11-18 | JA+VP
64 | 000022512 | Flow Transmitter - Station Discharge | Rosemount | 8712DR12N0M4 | 0860204181 | 2025-11-14 | 0 - 15.36 ML/day | 0 - 15.36 ML/day | 2025-11-18 | JA+VP | KP | 2025-11-19
AREA 3 - GRIMSBY WATER TREATMENT PLANT - 300 North Service Rd., Grimsby
65 | 000007356 | Flow Transmitter - Filter 5100 | Krohne | IFC300 | A20034982 | 2025-11-17 | 0-15 MLD | 0-15 MLD | 2025-11-21 | JA+VP
66 | 000046050 | Flow Transmitter - Filter 5200 | Krohne | IFC300 | A20034981 | 2025-11-17 | 0-15 MLD | 0-15 MLD | 2025-11-21 | JA+VP
67 | 000007360 | Flow Transmitter - Filter 5300 | Krohne | IFC300 | A20034983 | 2025-11-17 | 0-15 MLD | 0-15 MLD | 2025-11-21 | JA+VP
68 | 000007362 | Flow Transmitter - Filter 5400 | Krohne | IFC300 | A20034980 | 2025-11-17 | 0-15 MLD | 0-15 MLD | 2025-11-21 | JA+VP
69 | 000029938 | Flow Transmitter - Service Water | Krohne | IFC300 | A21032639 | 2025-11-17 | 0 - 150 L/sec | 0 - 150 L/sec | 2025-11-21 | JA+VP
70 | 000015861 | Flow Transmitter - Thickened Sludge | Rosemount | 8712 | 0060281304 | 2025-11-17 | 0 - 1332 L/min | 0 - 1332 L/min | 2025-11-21 | JA+VP
71 | 000007352 | Flow Transmitter - Backwash | Krohne | IFC300 | A20072505 | 2025-11-17 | 0-65 MLD | 0-65 MLD | 2025-11-21 | JA+VP
72 | 000015785 | Level Trnasmitter - Settled Water Conduit | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 10-05-93-163-GE | 2025-11-18 | 0 - 3.0 meters | 0 - 3.0 meters | 2025-11-17 | JA+VP
73 | 000015786 | Level Trnasmitter - Settled Water Conduit | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 09-28-93-137-GE | 2025-11-18 | 0 - 3.0 meters | 0 - 3.0 meters | 2025-11-17 | JA+VP
74 | 000015523 | Level Transmitter - Filter 5100 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 10-05-93-233-GE | 2025-11-17 | 0 - 3.0 meters | 0 - 3.0 meters | 2025-11-17 | JA+VP
75 | 000015530 | Level Transmitter - Filter 5200 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 10-05-93-306-GE | 2025-11-17 | 0 - 3.0 meters | 0 - 3.0 meters | 2025-11-17 | JA+VP
76 | 000015537 | Level Transmitter - Filter 5300 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 10-05-93-206-GE | 2025-11-17 | 0 - 3.0 meters | 0 - 3.0 meters | 2025-11-17 | JA+VP
77 | 000015544 | Level Transmitter - Filter 5400 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 10-05-93-278-GE | 2025-11-17 | 0 - 3.0 meters | 0 - 3.0 meters | 2025-11-17 | JA+VP
78 | 000015633 | Level Transmitter - Hypo Tank 9403 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 10-05-93-307-GE | 2025-11-18 | 0 - 3.0 meters | 0 - 3.0 meters | 2025-11-16 | CP+JA
79 | 000015634 | Level Transmitter - Hypo Tank 9404 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 09-28-93-187-GE | 2025-11-18 | 0 - 3.0 meters | 0 - 3.0 meters | 2025-11-16 | CP+JA
80 | 000039902 | Level Transmitter - Alum Day Tank 1 | Rosemount | 3105 | JBG1013800 | 2025-11-18 | 0 - 63.3 inches | 0 - 1.62 meters | 2025-11-16 | CP+JA
81 | 000039903 | Level Transmitter - Alum Day Tank 2 | Rosemount | 3105 | JBG1013801 | 2025-11-18 | 0 - 63.3 inches | 0 - 1.62 meters | 2025-11-16 | CP+JA
82 | 000044825 | Level Transmitter - Alum Tank 1 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 10-05-93-181-GE | 2025-11-18 | 0 - 6.4 ft | 0 - 100% | 2025-11-16 | CP+JA
83 | 000044826 | Level Transmitter - Alum Tank 2 | Siemens Milltronics Process Instruments Inc | MultiRanger Plus |  | 2025-11-18 | 0 - 6.4 ft | 0 - 100% | 2025-11-16 | CP+JA
84 | 000007368 | Level Transmitter - Distribution Channel | Siemens Milltronics Process Instruments Inc | MultiRanger Plus | 10-05-93-166-GE | 2025-11-18 | 0 - 9.0 meters | 0 - 9.0 meters | 2025-11-17 | JA+VP
85 | 000039263 | Pressure Transmitter - Dist System 1 | Rosemount | 2088G3S22A1M5KB | 0574042 | 2025-11-18 | 0 - 1600 kpa | 0 - 1600 kpa | 2025-11-17 | JA+VP
86 | 000039264 | Pressure Transmitter - Dist System 2 | Rosemount | 2088G3S22A1M5KB | 0574041 | 2025-11-18 | 0 - 1600 kpa | 0 - 1600 kpa | 2025-11-17 | JA+VP
87 | 000015520 | Pressure Transmitter - Filter 5100 Head Loss | Rosemount | 1151 Smart | 2340768 | 2025-11-17 | 0 - 118.11 mmwc | 0 - 3.0 meters | 2025-11-17 | JA+VP
88 | 000045643 | Pressure Transmitter - Filter 5200 Head Loss | Rosemount | 3051S | 0030075 | 2025-11-17 | 0 - 118.11 mmwc | 0 - 3.0 meters | 2025-11-17 | JA+VP
89 | 000036463 | Pressure Transmitter - Filter 5300 Head Loss | Rosemount | 3051S | 0637020 | 2025-11-17 | 0 - 118.11 mmwc | 0 - 3.0 meters | 2025-11-17 | JA+VP
90 | 000040696 | Pressure Transmitter - Filter 5400 Head Loss | Rosemount | 2051CD | 0085135 | 2025-11-17 | 0 - 118.11 mmwc | 0 - 3.0 meters | 2025-11-17 | JA+VP
AREA 3 - HIXON ST RESERVOIR & PUMPING STATION - 3991 Hixon St., Lincoln
91 | 000032955 | Level Transmitter - Reservoir Cell 2 | Siemens | Multiranger 100 | PBDAN262346 | 2025-11-14 | 0 - 5.0 meters | 0 - 5.0 meters | 2025-11-18 | JA+VP
AREA 3 - SMITHVILLE RESERVOIR, ELEVATED TANK & PUMPING STATION - 6247 London Rd., West Lincoln
92 | 000021815 | Level Transmitter - Reservoir Cell 1 | Siemens Milltronics Process Instruments Inc | MultiRanger 100 | PBD-U8170022 | 2025-11-18 | 0 - 6.0 meters | 0 - 6.0 meters | 2025-11-18 | JA+VP
93 | 000040645 | Level Transmitter - Reservoir Cell 2 | Siemens Milltronics Process Instruments Inc | MultiRanger 100 | PBD/U8170008 | 2025-11-18 | 0 - 6.0 meters | 0 - 6.0 meters | 2025-11-18 | JA+VP
94 | 000033525 | Level Transmitter - Elevated Tank | Rosemount | 2088 | 0399510 | 2025-11-18 | 48.0 - 62.0 psi | 0 - 100% | 2025-11-17 | JA+VP | KP | 2025-11-24
95 | 000021822 | Pressure Transmitter - Discharge | Rosemount | 3051 | 1680570 | 2025-11-18 | 0 - 700 kpa | 0 - 700 kpa | 2025-11-17 | JA+VP | KP | 2025-11-24
AREA 3 - THOROLD SOUTH ELEVATED TANK - 105 Allanburg, Thorold
96 | 000040687 | Level Transmitter - Elevated Tank | Rosemount | 2088 | 377975 | 2025-11-14 | 398.79 - 501.25 kPa | 0 - 100% | 2025-11-19 | JA+VP | KP | 2025-11-24
AREA 3 - VINELAND BOOSTER PUMPING STATION - 1885 Fourth Ave., Lincoln
97 | 000040688 | Pressure Transmitter - Station | Rosemount | 2088 | 0246469 | 2025-11-14 | 0 - 1900 kps | 0 - 1900 kps | 2025-11-18 | JA+VP | KP | 2025-11-24
AREA 3 - VIRGIL ELEVATED TANK - 11 Walker Rd., NOTL
98 | 000036215 | Level Transmitter - Elevated Tank | Rosemount | 2088 | 0487610 | 2025-11-14 | 55.74-70.93 psi | 0 - 100% | 2025-11-19 | JA+VP | KP | 2025-11-24
AREA 3 - ZONE 2 STANDPIPE - 5 Allanburg Rd. South, St. Catharines
99 | 000031992 | Level Transmitter - Stand Pipe | Rosemount | 1151 | 549421 | 2025-11-14 | 0 - 77.2 ftwc | 0 - 100% | 2025-11-19 | JA+VP | KP | 2025-11-24